## Slide 1
Experiment on the Fabry-Perot cavity
Frédéric BLANC
28/06/2021

## Slide 2
With :
Lambda/2
Polarized beam splitter
Plane mirror
Concave mirror
Convex lens
Current setup around the F-P cavity

## Slide 3
Pictures taken for cameras imagery calibration
Images for the calibration of the injection
Image for the calibration
of the transmission
Image for the calibration
of the reflection
Magnification : 1,32
Magnification : [0,53 ; 0,56]

## Slide 4
Picture of the TEM0,0 mode
Pulsating beam of the TEM0,0 mode

## Slide 5
Forecasts
Prepare the setup for the GHz laser.
Lock the cavity.