## Slide 1
Polarization measurment
Frédéric BLANC
13/09/2021

## Slide 2: Summary
01
02
03
Polarization tests
Measurments and results for FPC
Forecasts
[p.3]
[p.6]
[p.9]

## Slide 3: Polarization tests
01

## Slide 4: Results for different power of the NKT
04
Polarization tests
Chart: Polar horizontale f° puissance NKT
Chart: Polar verticale f° puissance NKT
Although the power change, the polarization stay the same.
Polarization measurment by changing the power of the NKT.

## Slide 5: Results for differents materials
05
Polarization tests
For the two type of mirrors that we use, neither of them change the polarization.
Polarization measurment with argentic mirror and dielectric mirror.

## Slide 6: Measurments and results for the FPC
02

## Slide 7: Polarisation of the output of the NKT
07
Measurments and results for the FPC
 | DOCP | Ellipticité
Moyenne : | -1,5728E-16 | 0,00068093
Ecart-type : | 0,30710066 | 0,10944901
Chart: Courbes brutes recentrées et normalisées
Chart: P0
| 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 | 360
 | 10.24 | 10.68 | 10.88 | 10.88 | 10.64 | 10.16 | 9.92 | 9.76 | 9.92 | 10.16 | 10.56 | 10.8 | 10.72 | 10.48 | 10.08 | 9.72 | 9.7 | 9.76 | 10.16 | 10.48 | 10.8 | 10.8 | 10.56 | 10.2 | 9.84 | 9.76 | 9.84 | 10.08 | 10.48 | 10.72 | 10.72 | 10.4 | 10.08 | 9.76 | 9.68 | 9.76 | 10.08
After data processing, we have a very low ellipticity, which means the polarization is linear.

## Slide 8: Polarisation of the FPC transmission
08
Measurments and results for the FPC
 | DOCP | Ellipticité
Moyenne : | -7,228E-18 | 4,0487E-05
Ecart-type : | 0,0129523 | 0,01144047
Chart: Courbes brutes recentrées et normalisées Transmission
We have also a linear polarization after crossing the FPC.

## Slide 9: Forecasts
03

## Slide 10: Forecasts
08
Forecasts
Align the burst line
Repair the GHz
Lock with GHz
Polarization measurments in reflexion
Polarization measurments in injection
1) GHz
2) Polarisation

## Slide 13: Toolbox
Triangles
Coins de page
Bloc pour insérer des images
1
2
3
…
1
2
3
…
1
2
3
…