## Slide 1
MENHIR Ultrafast Laser
216.66 MHz Lock into
a Bow Tie Optical Cavity Sbox
Manar AMER
ALEA Group

## Slide 2: Outline
Introduction to Sbox
Adaptation to MENHIR Frequency
Finesse Measurement
Injection Setup
Measured Data
Laser Lock
Increase of finesse (by Mirror Transmission Changing/Cleaning)

## Slide 3: Sbox
A bow – tie optical cavity used for research and development for ThomX* experiment Optical Cavity
Original FSR = 133.33 MHz
*https://thomx.ijclab.in2p3.fr/
Spherical
Spherical
Planar
Planar
Previous Cavity setup
M1
M2
M3
M4

## Slide 4: Sbox - Adaptation to MENHIR Frequency
FSR = 216.6625 MHz
Distance Between Spherical Mirrors did not change
  M3-M4 = 620
  M1-M2 = 16.1 (adjusted with motor to match the Frep)
New Setp to match MENHIR Frep

## Slide 5: Dimensions of Sbox to lock 216.66 MHz
1010.2 mm
518 mm
161 mm
320 mm
75 mm
350 mm
180 mm
526 mm
145 mm
55 mm
15 mm
70 mm
69 mm

## Slide 6: Setup – Finesse Measurement – CW laser
Iris
Beam Profiler
Photodiode
PD
Ma1
Ma2
PD
P1
P2
S3
S4
Iris
diffuser
PDH
30 cm
CW Koheras
Fiber
+ collimator
EOM1
EOM2
AOM
~ 40 cm
60 cm

## Slide 7: Setup – Pulsed Laser Injection
Iris
Beam Profiler
Photodiode
PD
Ma1
Ma2
PD
P1
P2
S3
S4
Iris
diffuser
PDH
30 cm
60 cm
EOM1
Pulsed
MENHIR
Fiber
Isolator
Fiber
+ collimator
~ 40 cm

## Slide 8: Injection of Pulsed Laser into Finber
Pulsed
MENHIR
Fiber
Isolator

## Slide 9: Optical Table Setup
here

## Slide 10: Finesse Measurement – using CW laser
Sweep time = 1 sec
Range = 3 MHz
FWHM = 86.44 KHz
Finesse = 2506.4706

## Slide 11: Fundamental Mode at Transmission
Locking of the MEHNIR Laser
Cavity under pressure 9.5*10-2 mbar
cavity FSR ~ 216.66 MHz
Laser Frep = 216.6625 MHz
Fundamental mode

## Slide 12: First Lock of MENHIR
The lock is shown for the pulsed laser ,
  where the total divisions on the oscilloscope screen correspond to 100% (The zero is placed at the bottom of the screen)
The coupling between the transmission and reflection ~ 25%
Three regions are shown
  Searching for lock
  Almost locked
  locked laser
Yellow: transmission
Green: Reflection
Blue: Piezo feedback Voltage

## Slide 13: Lock of MENHIR - Error signal
Yellow: transmission
Green: Reflection
Red: Error Signal
Blue: Piezo feedback Voltage
A zoom on the lock that shows the error signal contained in the airy peak before the lock
A note on the error signal that when locked there offset, Not understood yet.
Three regions are shown
  No frequency regulation
  Almost locked
  locked laser

## Slide 14: Lock of MENHIR - Error signal
Yellow: transmission
Green: Reflection
Red: Error Signal
Blue: Piezo feedback Voltage
The lock is shown for the pulsed laser
A closer zoom on the lock showing the
The blue signal correspond to the feedback voltage compensation on the piezo
  first region locked (Oscillation comping from outside noise compensation)
  Second , disturbance in lock
  Third , regulation signal is off
The red signal shows the clean error signal at the crossing point between lock and no lock

## Slide 15: Lock of MENHIR - Piezo Sound Extraction
Vibrations on Blue signal is the compensation for when we where taking near the laser
The change in average value over time could be due to thermal effects
  We have to constantly change it to be kept in the range of the Fundamental mode.
Yellow: transmission
Green: Reflection
Red: Error Signal
Blue: Piezo feedback Voltage

## Slide 16: Change of Mirror for Higher Finesse 1
Changed mirror from Transmission 2500 ppm to 500 ppm

## Slide 17: Finesse Measurement – using CW laser
Raw transmission signal shown on the oscilloscope before Finesse extraction
Yellow: transmission
Blue: Piezo feedback Voltage

## Slide 18: Finesse Measurement – using CW laser
Sweep time = 5 sec
Range = 1 MHz
FWHM = 28.8036 KHz
Finesse = 7521.981

## Slide 19: Change of Mirror for Higher Finesse – Lock over time
Yellow: transmission
Green: Reflection
Red: Error Signal
Blue: Piezo feedback Voltage

## Slide 20: Change of Mirror for Higher Finesse – Lock Error signal
Yellow: transmission
Green: Reflection
Red: Error Signal
Blue: Piezo feedback Voltage
The coupling between the transmission and reflection ~ 20%
The error signal at the point were the lock is lost

## Slide 21: Change of Mirror for Higher Finesse 1 – Lock Error signal
Yellow: transmission
Green: Reflection
Red: Error Signal
Blue: Piezo feedback Voltage

## Slide 22: Lock of MENHIR - Piezo Sound Extraction
Vibrations on Blue signal is the compensation for when we where taking near the laser
Blue: Piezo feedback Voltage

## Slide 23: Change of Mirror for Higher Finesse 1 – Clap effect
Clap
Yellow: transmission
Green: Reflection
Red: Error Signal
Blue: Piezo feedback Voltage

## Slide 24: Change of Mirror for Higher Finesse 2
Changed mirror from Transmission 500 ppm to 120 ppm , from ThomX mirrors and cleaning of the other 3 mirrors (M3/M4 2 spherical from Sbox, M2 Plan mirror from Sbox spare)

## Slide 25: Finesse Measurement – using CW laser
Sweep time = 10 sec
Range = 200 KHz
FWHM = 10.9046 KHz
Finesse = 19868.7469

## Slide 26: Change of Mirror for Higher Finesse 2 – 00 Mode
Locking of the MEHNIR Laser
Cavity under pressure 1*10-2 mbar
cavity FSR ~ 216.6625 MHz
Fundamental mode

## Slide 27: Change of Mirror for Higher Finesse 2 – Clap effect
Yellow: transmission
Green: Reflection
Red: Error Signal
Blue: Piezo feedback Voltage
The effect seen in the middle of the lock is a clap where the lock is able to almost instantaneously come back from it and not lose the lock.
the coupling for the pulsed laser in comparison to the CW laser (~ 50 %) is very low
  One of the reasons could be the Carrier Phase Envelop (CEP) of the laser!

## Slide 28: Change of Mirror for Higher Finesse 2
Transmission and Reflection Airy Peaks
Yellow: transmission
Green: Reflection

## Slide 29: Change of Mirror for Higher Finesse 2
Vibrations on Blue signal is the compensation for when we where taking near the laser
Blue: Piezo feedback Voltage

## Slide 30: Change of Mirror for Higher Finesse 2
Yellow: transmission
Green: Reflection
Red: Error Signal
Blue: Piezo feedback Voltage
Change in the coupling due to a change on the Carrier Phase Envelop of the Pulsed laser
  We clearly see an increase in the coupling to ~ 35 %